SYSTEM REQUIREMENT ANALYSIS FOR A HEALTH MONITORING SYSTEM

1.introduction

A Health Monitoring System is designed to measure and monitor patient vital signs such as heart rate, body temperature, blood pressure, and oxygen level, and provide alerts in case of abnormal conditions.

2.Functional requirement (what the system must do)

1. Measure Vital Signs

The system shall measure body temperature.

The system shall measure heart rate (pulse

2. Data Processing

The system shall convert analog signals to digital form.

The system shall analyze the data and compare it with normal ranges.

3. Display Information

The system shall display real-time readings on an LCD or mobile application.

4. Data Storage

The system shall store patient health data for future reference.

5. Alert System

The system shall trigger an alarm (buzzer/SMS/app notification) when abnormal readings are detected.

6. Communication

The system shall transmit data to a remote data.

3.Non functional requirement (system qualities)

1. Accuracy

The system shall provide accurate and reliable measurements.

2. Performance

The system shall update readings in real time (within a few seconds).

3. Security

The system shall protect patient data from unauthorized access.

4 .Reliability

The system shall operate continuously without frequent failure.

5. Usability

The system shall be easy to use and understand.

6. Scalability

The system shall support multiple users if required.

Hardware requirements

- Temperature sensor

- Pulse/Heart rate sensor

- Microcontroller (Arduino/ESP32)

- LCD display

- Buzzer

- Power supply

5.software reqiurements

- Embedded programming (Arduino IDE / Embedded C)

- Database (MySQL/Firebase)

- Operating system (Windows/Linux for server)

6. system contraints

- Limited power supply

- Cost limitations

- Sensor accuracy limitations

Conclusion

System requirement analysis ensures the health monitoring system is properly designed to provide accurate real-time monitoring, improve patient safety, and enable quick medical response.